Exercise 06: Two-way & intermediate

Name:							Date:

From Joint Box

Line (R1)

Neutral (Rn)

CPC (R2)

Wiring Diagram

Batten on End Box

Connector Block

Connector Block

Two way switch

Two way switch

Intermediate switch

| Circuit Number | Circuit Description | Switches |  |  |  | Continuity (Ω) |  |  | Insulation Resistance (MΩ) |  | Polarity (√) | Measurements Pass √ / X |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  | 1 | 2 | 3 | Combined | R1 + R2 | R1 + Rn | R2 + Rn | R1 / Rn | R1/ CPC |  |  |

| No | Marking Criteria | Pass √ / X | No | Marking Criteria |  | Pass √ / X |
| --- | --- | --- | --- | --- | --- | --- |
| 01 | Health & Safety/Risk assessment |  | 07 | Secure connections/identified |  |  |
| 02 | Accessories secured |  | 08 | Test sheet completed fully |  |  |
| 03 | Correct cable selected |  | 09 | Functional |  |  |
| 04 | Bends correct |  | 10 | Aesthetically pleasing |  |  |
| 05 | Cables into accessories |  | 11 | Material/tool list completed |  |  |
| 06 | Sufficient cable length |  | 12 | Knowledge Question completed |  |  |
| Total |  |  |  |  |  |  |
| Important: All of the above marking criteria must be met to pass this exercise |  |  |  |  | Marker Signature: |  |

| QTY | Material Description |  | Tool Description |
| --- | --- | --- | --- |

Knowledge Question: What is the correct sequence of conducting dead testing on an isolated circuit and why is it necessary?

| Candidate Feedback: (example: How did you feel the exercise went?). |  |  |  |
| --- | --- | --- | --- |
| Candidate Signature: | Date: |  |  |
| Instructor Feedback: |  |  |  |
| Candidate Signature: | Date: | Instructor’s Signature: | Date: |